## Slide 1
A D U DEWMINI
D/ENG/23/0160/BM
EARLY SEPSIS DETECTION USING EARLOBE MONITORING FOR BETTER BED PATIENT CARE

## Slide 2
  Problem Identification
  Aim
  Objectives
  Market survey
  Components
  system Design
  Circuit Diagram
  Solid work design
  PCB design
  Stimulation and results
  Problems encountered
  Cost estimation
CONTENT

## Slide 3
  Delayed Detection of Sepsis in Bed Patients
  Lack of Continuous Monitoring
  Uncomfortable and Inconvenient Monitoring Methods
  Need for a Non-Intrusive and Comfortable Solution
  Risk of Caregiver Dependence
  Affordable and Accessible Health Monitoring
PROBLEM IDENTIFICATION

## Slide 4
To design a compact, non-invasive medical device for early detection of sepsis conditions, integrating a pulse oximeter and temperature sensor on the earlobe, complemented by an alarm system and color-coded display for accurate monitoring and timely alerts.
AIM

## Slide 5
EARLY SEPSIS
DETECTION
REAL-TIME ALERTS & NOTIFICATIONS
To develop a wearable earlobe device to continuously monitor heart rate, oxygen saturation (SpO₂), and body temperature for early identification of sepsis.
To implement an alert system using LEDs, a buzzer, and a display to notify users and healthcare providers of critical conditions.
OBJECTIVES
USER-FRIENDLY & RELIABLE DESIGN
To ensure the device is lightweight, comfortable for continuous wear, and operates efficiently with long battery life for reliable monitoring.

## Slide 6
AVAILABLE PRODUCTS
Existing Devices for Early Sepsis Detection:
  IntelliSep Sepsis Test (Cytovale) – 8 min detection using immune response analysis.
  Sepsis aiMarker™ (Biocogniv) – AI-based prediction up to 72 hours in advance.
  KATE AI Sepsis (Mednition) – 118% improved early detection in emergency triage.
  Patient Status Engine (Isansys Lifecare) – Wearable smart patch for continuous monitoring.
MARKET SURVEY

## Slide 7
AVAILABILITY OF PATENT RIGHTS
  Multiple patents exist for biomarker kits, AI-based models, and wearable biosensors.
  Patent Gaps- Opportunities for home-based monitoring, AI integration, and non-invasive diagnostics.
  Freedom to Operate (FTO) Analysis required to ensure no patent infringement.
MARKET SURVEY

## Slide 8
VALUE ADDITION OF YOUR DEVICE
  Affordable Home Monitoring-Unlike hospital-based systems, your device allows continuous sepsis monitoring at home.
  Wearable & Adjustable Fit-Velcro strap for comfort ensures a secure and customizable fit for different patients.
  Real-Time Alerts- improves detection accuracy while reducing false alarms.
  User-Friendly Design- Plug-and-play operation, easy-to-read interface, and smartphone connectivity for caregivers.
  Non-Invasive Alternative-Unlike blood-based biomarker tests, your device detects sepsis risk using real-time physiological monitoring.
MARKET SURVEY

## Slide 9
  ESP32-Processes sensor data, manages alerts
  MAX30102 Pulse Oximeter Sensor- Heart rate₂ and oxygen saturation
  MLX90614 Infrared Temperature Sensor-measure-Non-contact body temperature
  LCD Display
  Mini Buzzer (SP001)
  LED - for visual display
  3.7V Li-ion Rechargeable Battery
  Resistors & Capacitors
COMPONENTS

## Slide 10
ear
MAX30102
Pulse oximeter sensor
MLX90614
Tempreature sensor
ESP32
Data transmission
LCD Display
LED Indicater
Buzzer
Earlobe Sensor Unit
Data Display and Alert
SYSTEM DESIGN
Green LED: Indicates normal/healthy readings.
        SpO₂: 94%-100%
        Heart rate: 60-90 bpm
        Body temperature: 36°C-37.5°C
      Yellow LED: Signals a warning that one or more vitals are approaching abnormal ranges.
        SpO₂: 90%-94%
        Body temperature: 37.6°C-38°C
      Red LED: Signals a critical condition where intervention is needed immediately. For example:
        SpO₂: <90%
        Heart rate > 90 bpm
        Body temperature: >38°C or <36°C
        There is a audible alert from buzzer when red LED is on

## Slide 11
CIRCUIT DIAGRAM
EAR LOBE DEVICE

## Slide 12
CIRCUIT DIAGRAM

## Slide 13
SOLID WORK DESIGN
EAR LOBE DEVICE DESIGN
opening for temperature sensor
opening for MAX30102

## Slide 14
SOLID WORK DESIGN
DISPLAY SYSTEM
OPENINGS FOR LEDS
OPENING FOR LCD DISPLAY

## Slide 15
PCB DESIGN
ESP32
MLX90614
MAX30102

## Slide 16
STIMULATION AND RESULTS
ESP32
MLX90614
MAX30102
Red LED was on and buzzer audible alert when temperature was below 36 celsius

## Slide 17
STIMULATION AND RESULTS
ESP32
MLX90614
MAX30102
Green LED was on when temperature was > 36 celsius and<37.5 celsius

## Slide 18
STIMULATION AND RESULTS
ESP32
MLX90614
MAX30102
YellowLED was onwhen temperature was > 37.5 and <38 celsius

## Slide 19
  Library Issues-Despite downloading the required MAX30102 libraries, Arduino IDE showed "No such library" errors.
  Code Execution Challenges- After obtaining the code from GitHub, the code executed, but the sensor was not captured.
  Sensor Initialization Loop-The sensor repeatedly showed "Initializing" but failed to work.
  Circuit Modification Attempts- Made changes to the sensor circuit, but the issue persisted.
PROBLEMS ENCOUNTERED

## Slide 22
ESP32 | 1100
MAX30102 Pulse oximeter sensor | 790
LCD Display | 470
Buzzer | 50
3 LED’S | 60
3.7V Li-ion Rechargeable Battery | 1000
resistors | 80
TOTAL COST | 3510
COST ESTIMATION

## Slide 23
THANK YOU